Which machine took this eye scan?

Results summary of the AI-READI ADVANCE workshop notebook, synthetic data. Run on 14 October 2026 (Windows laptop, CPU only, about 4.5 minutes).

## Question

Can a model tell which of four imaging machines took a retina scan, even from small plain pieces that people cannot tell apart? This matters because a model trained to detect disease can quietly learn to recognize the machine instead, for example when one clinic with sicker patients uses one machine.

## Data and method

- Data: 2,000 synthetic OCT retina scans (256 × 256 pixels), 500 from each machine: Cirrus, Maestro2, Spectralis and Triton. 1,500 were used for learning and 500 were held back for testing. A table of 10,518 synthetic participants with 16 measurements was used for the warm-up exercises.

- Three approaches: (1) average picture: the closest typical picture per machine, pixel by pixel; (2) summary numbers: brightness counts plus graininess, then a simple scoring rule; (3) a small convolutional neural network (CNN) with 93,636 parameters, trained for 8 passes.

- Four levels of difficulty, from the whole scan down to pure-texture pieces with no visible edges, bands or shapes.

## Main result: accuracy at naming the machine (guessing = 25%)

| Level: what the model sees | Average picture | Summary numbers | CNN |
| --- | --- | --- | --- |
| 1. Whole scan | 91.8% | 91.6% | 99.2% |
| 2. Random small piece | 49.4% | 77.0% | 88.8% |
| 3. Piece, brightness evened out | 26.6% | 43.0% | 81.0% |
| 4. Pure texture (no visible shapes) | 38.8% | 73.1% | 88.1% |

Other results. In a 12-piece pure-texture quiz the CNN scored 12/12; guessing would score about 3/12. In the warm-up exercise, learning a rule that predicts the watch heart rate from the clinic heart rate cut the mean squared error from 157.4 to 49.0.

## Conclusions

- Machines leave fingerprints, even in pure static. At level 4 there is nothing a person can see, yet the CNN is right 88% of the time. Medical image models should be tested on machines and clinics they did not learn from.

- The synthetic data reproduces those fingerprints, so it is useful for building and testing methods before applying for the real AI-READI data.

- Use the simplest tool that works. On whole scans the simple methods already reach about 92%. The CNN clearly wins only when the clue is a texture that can appear anywhere (levels 2 to 4).

Synthetic data: Jackson N, Espinosa Dice N, Yan C, Li Z, Jiang X, Lee A, Malin B. Synthetic AI-READI Dataset for T2DM Research, ADVANCE Center, Vanderbilt University Medical Center, 2026, doi:10.5281/zenodo.22944362. Licensed under the AI-READI Synthetic Data License Agreement (Licensor: Washington University in St. Louis). The data itself is not included in this repository.